## Sheet1
Level | Title | Field | Type | Prefix | Suffix | Size | Options | Min | Max | Default | Required | Settings | Concepts
1 | Tabs | tc | tab_container
2 | Spirometry | spirometry_tab | tab
3 | Date of spirometry tests | spirometry_date | date |  |  |  |  | date_of_birth() | today() |  | Y
3 | Predicted Values | fset_pred | fieldset | [8 empty] | compress=1,width=98%
4 |  | hc_pred | horiz_container
5 | FEV<sub>1</sub> | pred_fev1 | expression |  | l | 4 | [5 empty] | ajax-func=lungfunction
5 | FVC | pred_fvc | expression |  | l | 4
5 | FEV<sub>1</sub>/FVC | pred_fev1_fvc | expression |  | l | 4
5 | PEF | pred_pef | expression |  | l min <sup>-1</sup> | 5
5 | Use correction factor (90%)? | cfactor_90pc | checkbox
3 | Has patient withheld inhalers? | patient_wheld_inhalers | yes_no
3 |  | hc0 | horiz_container
4 | Pre-bronchodilator FEV<sub>1</sub> | fset1 | fieldset | [8 empty] | compress=1,width=48%
5 |  | hc1 | horiz_container
6 | FEV<sub>1</sub> | pre_bronch_fev1 | number |  | l | 4 |  |  |  |  | Y | output_title=Pre-bronch FEV1 | snomed:401012008
6 | % predicted FEV<sub>1</sub> | pc_pred_pre_bronch_fev1 | expression |  | % | 4 | [5 empty] | expression=get('pre_bronch_fev1')/get('pred_fev1')*100,expression_fail_value=NULL,fixed=2,output_type=number,output_title=Pre-bronch % pred. FEV1
4 | Post-bronchodilator FEV<sub>1</sub> | fset2 | fieldset | [8 empty] | compress=1,width=48%
5 |  | hc2 | horiz_container
6 | FEV<sub>1</sub> | post_bronch_fev1 | number |  | l | 4 |  |  |  |  | Y | output_title=Post-bronch FEV1 | snomed:401013003
6 | % predicted FEV<sub>1</sub> | pc_pred_post_bronch_fev1 | expression |  | % | 4 | [5 empty] | expression=(get('post_bronch_fev1')/get('pred_fev1')*100),expression_fail_value=NULL,fixed=2,output_type=number,output_title=Post-bronch % pred. FEV1
3 |  | hc3 | horiz_container
4 | Pre-bronchodilator FVC | fset3 | fieldset | [8 empty] | compress=1,width=48%
5 |  | hc4 | horiz_container
6 | FVC | pre_bronch_fvc | number |  | l | 4 |  |  |  |  | Y | output_title=Pre-bronch % pred. FVC | snomed:441857000
6 | % predicted FVC | pc_pred_pre_bronch_fvc | expression |  | % | 4 | [5 empty] | expression=(get('pre_bronch_fvc')/get('pred_fvc')*100),expression_fail_value=NULL,fixed=2,output_type=number,output_title=Post-bronch % pred. FVC
4 | Post-bronchodilator FVC | fset4 | fieldset | [8 empty] | compress=1,width=48%
5 |  | hc5 | horiz_container
6 | FVC | post_bronch_fvc | number |  | l | 4 |  |  |  |  | Y | output_title=Post-bronch FVC | snomed:407561008
6 | % predicted FVC | pc_pred_post_bronch_fvc | expression |  | % | 4 | [5 empty] | expression=(get('post_bronch_fvc')/get('pred_fvc')*100),expression_fail_value=NULL,fixed=2,output_type=number,output_title=Pre-bronch % pred. FVC
3 |  | hc20 | horiz_container
4 | Pre-bronchodilator FEV<sub>1</sub>/FVC | fset5 | fieldset | [8 empty] | compress=1,width=48%
5 |  | hc6 | horiz_container
6 | FEV<sub>1</sub>/FVC | pre_bronch_fev1_fvc | expression |  | l | 4 | [5 empty] | expression=(get('pre_bronch_fev1')/get('pre_bronch_fvc')*100) expression_fail_value=-,fixed=2,output_type=number,output_title=Pre-bronch % pred. FEV1/FVC | snomed:407602006
6 | % predicted FEV<sub>1</sub>/FVC | pc_pred_pre_bronch_fev1_fvc | expression |  | % | 5 | [5 empty] | expression=(get('pre_bronch_fev1_fvc')/get('pred_fev1_fvc')*100),expression_fail_value=NULL,fixed=2,output_type=number,output_title=Post-bronch % pred FEV1/FVC
4 | Post-bronchodilator FEV<sub>1</sub>/FVC | fset6 | fieldset | [8 empty] | compress=1,width=48%
5 |  | hc7 | horiz_container
6 | FEV<sub>1</sub>/FVC | post_bronch_fev1_fvc | expression |  | l | 4 | [5 empty] | expression=(get('post_bronch_fev1')/get('post_bronch_fvc')*100) expression_fail_value=-,fixed=2,output_title=Post-bronch FEV1/FVC,output_type=number | snomed:407603001
6 | % predicted FEV<sub>1</sub>/ FVC | pc_pred_post_bronch_fev1_fvc | expression |  | % | 5 | [5 empty] | expression=(get('post_bronch_fev1_fvc')/get('pred_fev1_fvc')*100),expression_fail_value=NULL,fixed=2,output_title=Post-bronch % pred. FEV1/FVC,output_type=number
3 | Bronchodilator reversibility FEV<sub>1</sub> | fset7 | fieldset | [8 empty] | compress=1
4 |  | hc7b | horiz_container
5 |  | bronch_rev_fev1_pc | expression |  | % | 4 | [5 empty] | expression=(get('post_bronch_fev1')-get('pre_bronch_fev1'))/get('pre_bronch_fev1')*100,expression_fail_value=NULL,fixed=1,output_type=number,output_title=reversibility FEV1 %
5 |  | bronch_rev_fev1_mls | expression |  | mls | 4 | [5 empty] | expression=(get('post_bronch_fev1')-get('pre_bronch_fev1'))*1000,expression_fail_value=NULL,fixed=1,output_type=number,output_title=reversibility FEV1 mls
3 | Peak-expiratory flow | fset8 | fieldset | [8 empty] | compress=1
4 |  | hc8 | horiz_container | [8 empty] | segments=4
5 | Best PEF | best_pef | number |  | l min<sup>-1</sup> | [5 empty] | Y |  | snomed:251936000
5 | % predicted best | pc_pred_best_pef | expression |  |  | 5 | [5 empty] | expression=(get('best_pef')/get('pred_pef')*100),expression_fail_value=NULL,fixed=2,output_type=number,output_title=% pred. best PEF | snomed:401163005
5 | Current PEF | current_pef | number |  | l min<sup>-1</sup> | [5 empty] | Y
5 | % best PEF | pc_best_pef | expression |  |  | 5 | [5 empty] | expression=(get('current_pef')/get('best_pef')*100),expression_fail_value=NULL,fixed=2
2 | PC20 and other measures | other_tab | tab |  |  | 4
3 | PC<sub>20</sub> methacholine/histamine | pc20_fset | fieldset | [8 empty] | compress=1,width=48%
4 |  | pc20_hc | horiz_container
5 | Date of PC<sub>20</sub> | pc20_date | date |  |  |  |  | date_of_birth() | today()
5 | Value | pc20_methacholine_histamine | number |  |  | 4 |  |  |  |  | Y | output_title=PC20 value | snomed:252520007
3 | Other measurements | other_fset | fieldset | [8 empty] | compress=1
4 | Date of other tests | other_measure_date | date |  |  |  |  | date_of_birth() | today() |  | Y
4 |  | hc9 | horiz_container
5 | Residual volume | residual_volume | number |  | % predicted | 3 |  |  |  |  | Y |  | snomed:42457008
5 | Total lung capacity | total_lung_capacity | number |  | % predicted | 3 |  |  |  |  | Y |  | snomed:57566009
4 |  | hc10 | horiz_container
5 | KCO | kco | number |  | % predicted | 3 |  |  |  |  | Y |  | snomed:251952002
3 | Exhaled NO | exno_fset | fieldset | [8 empty] | compress=1
4 |  | hc11 | horiz_container
5 | Date current | date_exhaled_no | date
5 | Current exhaled NO | exhaled_no | number |  | 50 ml s <sup>-1</sup> | 3 |  |  |  |  | Y |  | snomed:444642008
4 |  | hc12 | horiz_container
5 | Date highest | date_highest_exhaled_no | date
5 | Historical highest exhaled NO | highest_exhaled_no | number |  | 50 ml s <sup>-1</sup> | 3 |  |  |  |  | Y

## Sheet2
4.9435